## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-03-28
Time: |  |  |  | 19:13
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-C12;D1-H6
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 150
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-03-28 19:10:37
Temperature [°C] |  |  |  | 26.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 35221 | 38651 | 39618 | 48127 | 40053 | 40291 | 42363 | 31867 | 37906 | 36248 | 35558 | 40845
B | 34182 | 34760 | 39910 | 41056 | 36832 | 40106 | 41809 | 41918 | 40339 | 43530 | 37159 | 41217
C | 38790 | 38247 | 38834 | 40016 | 41501 | 41059 | 44376 | 44152 | 44052 | 43675 | 44361 | 43543
D | 36158 | 40796 | 40284 | 37578 | 32660 | 38750
E | 39764 | 34625 | 33658 | 36506 | 32369 | 40115
F | 38442 | 38840 | 39014 | 37087 | 36139 | 39433
G | 39491 | 36913 | 33353 | 40822 | 37458 | 39886
H | 38183 | 33420 | 24033 | 39713 | 36290 | 38736
End Time |  |  |  | 2025-03-28 19:11:20
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 152
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-03-28 19:11:34
Temperature [°C] |  |  |  | 26.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 37299 | 39690 | 39540 | 47486 | 41558 | 43422 | 45281 | 32289 | 39884 | 40346 | 37888 | 44860
B | 35693 | 36350 | 43475 | 42407 | 39466 | 44014 | 44076 | 44160 | 43205 | 47260 | 39892 | 45392
C | 40531 | 39304 | 40492 | 42762 | 40473 | 44380 | 48280 | 47600 | 48190 | 47112 | 48508 | 47453
D | 38989 | 43482 | 42198 | 40626 | 35542 | 42267
E | 42301 | 35390 | 36581 | 40124 | 35004 | 44121
F | 40933 | 40482 | 40704 | 40917 | 38615 | 42917
G | 43103 | 39787 | 36948 | 42761 | 38135 | 44114
H | 41212 | 35671 | 25919 | 43024 | 38565 | 42399
End Time |  |  |  | 2025-03-28 19:12:15
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 152
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-03-28 19:12:20
Temperature [°C] |  |  |  | 26.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 36247 | 38886 | 39397 | 47137 | 40360 | 43029 | 44589 | 31722 | 38713 | 39536 | 36606 | 44796
B | 34850 | 35706 | 41541 | 40726 | 39093 | 44301 | 42724 | 41844 | 41478 | 46743 | 39496 | 45157
C | 39394 | 38365 | 39091 | 42429 | 39810 | 43947 | 47500 | 47567 | 47108 | 47110 | 47708 | 46686
D | 37583 | 42943 | 41581 | 40208 | 35641 | 42772
E | 41301 | 35433 | 35953 | 40057 | 34072 | 44289
F | 40727 | 39365 | 40186 | 40914 | 39115 | 42911
G | 42746 | 38860 | 36262 | 41914 | 37634 | 43591
H | 40013 | 35107 | 26288 | 42571 | 38594 | 42113
End Time |  |  |  | 2025-03-28 19:13:01