## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-03-31
Time: |  |  |  | 17:05
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-C12;D1-H6
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 115
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-03-31 17:02:40
Temperature [°C] |  |  |  | 27.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 35667 | 38229 | 37784 | 48953 | 39883 | 24603 | 37135 | 51477 | 39664 | 50595 | 46590 | 24491
B | 37981 | 42606 | 37617 | 48459 | 40005 | 25551 | 35877 | 46506 | 41389 | 54691 | 46696 | 24868
C | 40701 | 44722 | 43689 | 46866 | 43401 | 25380 | 26069 | 26125 | 26073 | 26358 | 26025 | 24891
D | 41670 | 43941 | 43770 | 44534 | 43449 | 24447
E | 38515 | 42957 | 37752 | 50117 | 42320 | 25116
F | 37268 | 41409 | 38522 | 48168 | 43122 | 24695
G | 43403 | 46206 | 39443 | 46391 | 38046 | 24816
H | 37824 | 43407 | 44859 | 49394 | 42501 | 24989
End Time |  |  |  | 2025-03-31 17:03:23
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 115
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-03-31 17:03:27
Temperature [°C] |  |  |  | 27.6
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 34193 | 37780 | 36837 | 48161 | 39413 | 23910 | 36729 | 47737 | 39094 | 49198 | 45766 | 23906
B | 36098 | 41800 | 37239 | 47497 | 39700 | 24942 | 35510 | 44733 | 40719 | 53372 | 45296 | 24234
C | 39367 | 42509 | 42358 | 46012 | 42543 | 25007 | 25756 | 25747 | 25721 | 25741 | 25385 | 24414
D | 40558 | 42245 | 42201 | 43807 | 42882 | 24007
E | 36697 | 41703 | 37038 | 49559 | 41678 | 24549
F | 36065 | 40419 | 37577 | 47528 | 42645 | 24175
G | 41649 | 44063 | 38780 | 44922 | 37699 | 24274
H | 36274 | 42870 | 43887 | 48610 | 41899 | 24443
End Time |  |  |  | 2025-03-31 17:04:09
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 114
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-03-31 17:04:14
Temperature [°C] |  |  |  | 27.5
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 31507 | 35462 | 34947 | 45379 | 37333 | 22212 | 34723 | 44155 | 36797 | 45917 | 42989 | 22350
B | 33662 | 39089 | 35223 | 44862 | 37510 | 23307 | 33651 | 41870 | 38433 | 50121 | 42557 | 22562
C | 36509 | 40031 | 39514 | 43281 | 40337 | 23365 | 24151 | 24337 | 24289 | 24439 | 23967 | 22802
D | 37472 | 39196 | 39495 | 41591 | 40605 | 22528
E | 34179 | 38940 | 35017 | 47157 | 39460 | 22898
F | 33818 | 37851 | 35108 | 45071 | 40207 | 23047
G | 38991 | 41094 | 36580 | 42522 | 35518 | 22855
H | 33292 | 40425 | 41528 | 46080 | 39756 | 22892
End Time |  |  |  | 2025-03-31 17:04:56