## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-04-02
Time: |  |  |  | 17:01
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-C12;D1-H6
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 114
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-02 16:59:32
Temperature [°C] |  |  |  | 26.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 37479 | 36542 | 37764 | 40007 | 37128 | 22746 | 41384 | 39032 | 38197 | 48201 | 38718 | 22398
B | 36843 | 35740 | 35686 | 38291 | 35016 | 23534 | 41381 | 45156 | 38175 | 44246 | 42238 | 22981
C | 36597 | 41916 | 33474 | 39140 | 36781 | 22677 | 23787 | 23688 | 24088 | 23882 | 23859 | 23873
D | 42254 | 34592 | 40937 | 36313 | 43388 | 22397
E | 33404 | 39602 | 27890 | 41282 | 39845 | 22872
F | 32798 | 41205 | 35467 | 39586 | 37846 | 22441
G | 46561 | 38672 | 37437 | 39053 | 41685 | 22583
H | 34712 | 34097 | 37126 | 31171 | 37147 | 22159
End Time |  |  |  | 2025-04-02 17:00:15
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 116
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-02 17:00:20
Temperature [°C] |  |  |  | 26.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 41849 | 40840 | 42513 | 45442 | 41754 | 25485 | 46761 | 43743 | 42952 | 52562 | 43532 | 24741
B | 40947 | 39746 | 39652 | 42721 | 39186 | 26471 | 46469 | 48063 | 42777 | 49014 | 47352 | 25632
C | 41433 | 45938 | 36982 | 43428 | 40873 | 25257 | 26982 | 26649 | 26972 | 26770 | 26914 | 26855
D | 47021 | 37218 | 45423 | 40721 | 48272 | 24920
E | 37012 | 44041 | 31089 | 45007 | 43744 | 25535
F | 36629 | 45439 | 39197 | 43912 | 42135 | 24881
G | 51440 | 43197 | 42122 | 43638 | 45948 | 25191
H | 38588 | 37196 | 41988 | 35303 | 40349 | 24861
End Time |  |  |  | 2025-04-02 17:01:02
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 116
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-02 17:01:06
Temperature [°C] |  |  |  | 26.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 41671 | 40903 | 42638 | 45546 | 41861 | 25215 | 46906 | 44071 | 43346 | 51759 | 43673 | 24761
B | 40695 | 40007 | 39099 | 42536 | 38507 | 26593 | 46046 | 46870 | 42755 | 48508 | 46628 | 25595
C | 41358 | 45353 | 36722 | 43533 | 41098 | 25466 | 27002 | 26805 | 27090 | 26815 | 27096 | 26873
D | 46967 | 37071 | 44824 | 40983 | 47919 | 25100
E | 37000 | 44033 | 31189 | 45307 | 42932 | 25685
F | 36555 | 45440 | 38485 | 44352 | 41642 | 24973
G | 51105 | 42433 | 42170 | 43520 | 45068 | 25303
H | 38859 | 37113 | 41119 | 35424 | 39950 | 24830
End Time |  |  |  | 2025-04-02 17:01:48