## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-04-04
Time: |  |  |  | 15:08
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-C12;D1-H6
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 100
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-04 15:06:10
Temperature [°C] |  |  |  | 24.7
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 44193 | 45593 | 43860 | 50321 | 49534 | 8690 | 32154 | 32282 | 27126 | 34682 | 31151 | 8240
B | 37590 | 38376 | 36436 | 50194 | 41386 | 10452 | 35719 | 33458 | 33791 | 38276 | 35802 | 8657
C | 40608 | 41467 | 39042 | 51206 | 45798 | 8527 | 9003 | 8984 | 8936 | 8765 | 8944 | 8946
D | 46922 | 44752 | 43897 | 53115 | 46434 | 8534
E | 43405 | 35318 | 31383 | 34943 | 37082 | 8695
F | 37331 | 33584 | 31043 | 36992 | 34495 | 8478
G | 40041 | 35078 | 31476 | 37852 | 32493 | 8314
H | 43793 | 37222 | 34912 | 39153 | 37621 | 8107
End Time |  |  |  | 2025-04-04 15:06:53
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 100
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-04 15:06:57
Temperature [°C] |  |  |  | 24.5
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 43414 | 44762 | 43068 | 49625 | 48631 | 8565 | 31699 | 31722 | 26494 | 34028 | 30384 | 8014
B | 36898 | 37259 | 35349 | 49246 | 40538 | 10251 | 35088 | 32712 | 33133 | 37749 | 34810 | 8434
C | 39928 | 40611 | 38348 | 50215 | 44954 | 8340 | 8809 | 8735 | 8744 | 8608 | 8683 | 8686
D | 46030 | 43834 | 42904 | 51878 | 44710 | 8305
E | 41710 | 33297 | 30196 | 32913 | 34719 | 8562
F | 36271 | 32668 | 29331 | 35754 | 33294 | 8372
G | 38341 | 33256 | 29816 | 36565 | 31630 | 8168
H | 42263 | 35728 | 33944 | 37975 | 36079 | 7938
End Time |  |  |  | 2025-04-04 15:07:39
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 100
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-04 15:07:43
Temperature [°C] |  |  |  | 24.5
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 43540 | 44798 | 43405 | 49781 | 48734 | 8507 | 31754 | 31638 | 26622 | 34175 | 30339 | 8013
B | 37028 | 37399 | 35473 | 49455 | 40510 | 10242 | 35222 | 32831 | 32988 | 37878 | 34922 | 8424
C | 40013 | 40679 | 38452 | 50077 | 45056 | 8369 | 8790 | 8761 | 8719 | 8585 | 8725 | 8730
D | 46205 | 43918 | 42742 | 52084 | 45031 | 8372
E | 41013 | 33233 | 30250 | 32721 | 34512 | 8559
F | 36488 | 32640 | 29180 | 35904 | 33428 | 8353
G | 38538 | 33131 | 29776 | 36441 | 31794 | 8090
H | 41978 | 35728 | 34038 | 38180 | 36057 | 7904
End Time |  |  |  | 2025-04-04 15:08:24