## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-04-07
Time: |  |  |  | 17:00
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-C12;D1-H6
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 97
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-07 16:57:40
Temperature [°C] |  |  |  | 25.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 39702 | 37577 | 37667 | 44896 | 44418 | 6574 | 37207 | 33140 | 32024 | 36578 | 34490 | 6606
B | 36206 | 39512 | 36798 | 47754 | 39652 | 14985 | 33655 | 31721 | 34458 | 41103 | 30828 | 6703
C | 40606 | 39637 | 40116 | 46026 | 39977 | 6925 | 7513 | 7468 | 7562 | 7609 | 7509 | 7513
D | 46854 | 41110 | 40686 | 50516 | 43211 | 6844
E | 36922 | 31841 | 30647 | 36727 | 33972 | 6803
F | 37387 | 33180 | 33816 | 43414 | 38624 | 6766
G | 37004 | 34268 | 35298 | 43264 | 37373 | 6751
H | 40613 | 37969 | 40545 | 44081 | 40039 | 6624
End Time |  |  |  | 2025-04-07 16:58:23
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 97
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-07 16:58:28
Temperature [°C] |  |  |  | 25
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 38107 | 37196 | 37107 | 44250 | 44004 | 6376 | 34368 | 30780 | 30107 | 35961 | 33658 | 6294
B | 35098 | 37450 | 36175 | 47235 | 39216 | 13755 | 31081 | 29471 | 32385 | 39300 | 30228 | 6462
C | 39227 | 38196 | 39585 | 45597 | 39578 | 6687 | 7375 | 7305 | 7347 | 7485 | 7344 | 7332
D | 45015 | 40087 | 38968 | 49877 | 42797 | 6658
E | 35010 | 30530 | 29333 | 35123 | 32639 | 6642
F | 35473 | 31643 | 32557 | 40942 | 37220 | 6514
G | 35825 | 33227 | 33041 | 41673 | 36125 | 6562
H | 39254 | 36304 | 39047 | 43343 | 39198 | 6379
End Time |  |  |  | 2025-04-07 16:59:09
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 97
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-07 16:59:14
Temperature [°C] |  |  |  | 24.9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 38210 | 37300 | 37390 | 44725 | 44332 | 6252 | 33662 | 30629 | 29762 | 36102 | 33590 | 6221
B | 34964 | 37242 | 36565 | 47689 | 39728 | 13557 | 30648 | 29095 | 32030 | 39058 | 30554 | 6417
C | 38960 | 38157 | 39883 | 46121 | 40086 | 6623 | 7419 | 7306 | 7399 | 7453 | 7284 | 7331
D | 45133 | 40297 | 39031 | 50393 | 43434 | 6584
E | 35045 | 30207 | 29181 | 35197 | 32563 | 6576
F | 34841 | 31536 | 31569 | 40522 | 36836 | 6479
G | 35631 | 32635 | 32776 | 41322 | 35770 | 6533
H | 39438 | 35847 | 38581 | 43725 | 39523 | 6260
End Time |  |  |  | 2025-04-07 16:59:55