## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-04-09
Time: |  |  |  | 15:08
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-C12;D1-H6
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 98
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-09 15:06:04
Temperature [°C] |  |  |  | 24.3
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 49624 | 48805 | 44658 | 49864 | 45924 | 7430 | 36163 | 31724 | 33424 | 35653 | 34395 | 7416
B | 44794 | 46472 | 44955 | 49697 | 45268 | 23533 | 36837 | 36824 | 35631 | 39606 | 34824 | 7119
C | 46420 | 45058 | 44467 | 49349 | 45275 | 7797 | 8044 | 7884 | 8013 | 8082 | 7982 | 7688
D | 52201 | 49181 | 44570 | 53582 | 44580 | 7454
E | 36850 | 35304 | 32509 | 38239 | 33978 | 7696
F | 35157 | 34907 | 32424 | 38987 | 40265 | 7693
G | 39467 | 37197 | 35680 | 44815 | 39008 | 7657
H | 40025 | 39816 | 37677 | 42688 | 40417 | 7559
End Time |  |  |  | 2025-04-09 15:06:47
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 98
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-09 15:06:51
Temperature [°C] |  |  |  | 24.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 49154 | 48604 | 44439 | 49453 | 45362 | 7130 | 35913 | 31467 | 33107 | 35431 | 34156 | 7040
B | 44088 | 45928 | 44248 | 49268 | 44741 | 22398 | 36488 | 36620 | 35395 | 38989 | 34455 | 6915
C | 45678 | 44603 | 44099 | 48755 | 44752 | 7544 | 7989 | 7765 | 7894 | 7955 | 7895 | 7546
D | 51659 | 48105 | 43920 | 52609 | 43962 | 7274
E | 36311 | 34601 | 32153 | 37936 | 33687 | 7567
F | 34858 | 34383 | 31778 | 38417 | 39889 | 7525
G | 38993 | 36630 | 35233 | 44201 | 38418 | 7568
H | 39744 | 38929 | 37132 | 42243 | 39943 | 7387
End Time |  |  |  | 2025-04-09 15:07:33
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 98
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-C12;D1-H6
Start Time |  |  |  | 2025-04-09 15:07:37
Temperature [°C] |  |  |  | 24.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 49134 | 48656 | 44625 | 49754 | 45624 | 7037 | 35747 | 31459 | 33185 | 35647 | 34356 | 7078
B | 44159 | 46008 | 44396 | 49442 | 44877 | 22124 | 36508 | 36834 | 35641 | 39107 | 34670 | 6899
C | 45534 | 44775 | 44220 | 48879 | 44724 | 7579 | 8015 | 7825 | 7858 | 7939 | 7879 | 7576
D | 52184 | 48140 | 44022 | 52948 | 44367 | 7372
E | 36332 | 34579 | 32164 | 37948 | 33543 | 7609
F | 34842 | 34445 | 31850 | 38493 | 40028 | 7562
G | 38933 | 36649 | 35271 | 44284 | 38578 | 7600
H | 39780 | 39016 | 37149 | 42426 | 40297 | 7424
End Time |  |  |  | 2025-04-09 15:08:18