## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-08-27
Time: |  |  |  | 17:41
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-D10;E1-H5
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 93
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-08-27 17:39:09
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 26944 | 37765 | 42805 | 43623 | 32904 | 23382 | 29291 | 37083 | 37918 | 24267
B | 37476 | 50542 | 40019 | 40234 | 39813 | 27433 | 29926 | 37509 | 36185 | 26878
C | 32627 | 39301 | 49782 | 46010 | 31703 | 5074 | 5159 | 5142 | 5155 | 5069
D | 29533 | 33227 | 29133 | 47847 | 33400 | 4923 | 5175 | 5167 | 5199 | 5164
E | 24298 | 33326 | 31331 | 28482 | 25593
F | 17348 | 27341 | 37387 | 31714 | 28764
G | 22176 | 24270 | 24669 | 37301 | 18538
H | 19600 | 24239 | 26461 | 28406 | 33480
End Time |  |  |  | 2025-08-27 17:39:50
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 93
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-08-27 17:40:04
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 26690 | 37344 | 42563 | 43457 | 32799 | 23336 | 29102 | 36836 | 37618 | 24065
B | 36973 | 50149 | 39721 | 39998 | 39491 | 27211 | 29608 | 37196 | 35850 | 26534
C | 32256 | 38799 | 49271 | 45652 | 31298 | 4994 | 5129 | 5073 | 5105 | 4979
D | 29293 | 32992 | 28851 | 47411 | 33262 | 4910 | 5130 | 5129 | 5136 | 5076
E | 24105 | 32997 | 31027 | 28153 | 25560
F | 17145 | 27087 | 36783 | 31356 | 27839
G | 22002 | 23949 | 24488 | 36972 | 18387
H | 19386 | 24026 | 26213 | 28067 | 33122
End Time |  |  |  | 2025-08-27 17:40:42
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 93
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-08-27 17:40:47
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.3
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 26703 | 37395 | 42521 | 43315 | 32801 | 23359 | 29123 | 36957 | 37611 | 24077
B | 37103 | 50275 | 39778 | 40056 | 39596 | 27422 | 29690 | 37387 | 35930 | 26648
C | 32383 | 38838 | 49432 | 45728 | 31515 | 5015 | 5121 | 5063 | 5126 | 5008
D | 29368 | 33023 | 28948 | 47573 | 33190 | 4909 | 5113 | 5109 | 5158 | 5076
E | 24116 | 33104 | 31110 | 28166 | 25550
F | 17147 | 27046 | 36752 | 31343 | 27702
G | 21890 | 24088 | 24519 | 36901 | 18330
H | 19302 | 23916 | 26190 | 28028 | 33161
End Time |  |  |  | 2025-08-27 17:41:25