## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-08-29
Time: |  |  |  | 14:20
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-D10;E1-H5
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 91
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-08-29 14:17:58
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 41132 | 41614 | 39605 | 42365 | 37134 | 47488 | 45620 | 51646 | 45177 | 38674
B | 43362 | 38168 | 39892 | 38129 | 38668 | 50276 | 47804 | 47460 | 53349 | 44583
C | 41216 | 39410 | 38305 | 38859 | 33362 | 3969 | 4346 | 4264 | 4319 | 4336
D | 38664 | 37347 | 39050 | 43720 | 40987 | 4239 | 4370 | 4355 | 4433 | 4369
E | 46217 | 45088 | 39709 | 41147 | 34511
F | 34185 | 39066 | 37674 | 41140 | 30638
G | 41329 | 40482 | 38125 | 44336 | 33192
H | 37717 | 38982 | 44706 | 46785 | 43449
End Time |  |  |  | 2025-08-29 14:18:37
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 91
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-08-29 14:18:42
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 40619 | 41166 | 39121 | 42160 | 36773 | 47182 | 45264 | 51087 | 44757 | 38158
B | 42840 | 37660 | 39529 | 37756 | 38252 | 49902 | 47341 | 46947 | 52886 | 44123
C | 40878 | 39098 | 37970 | 38561 | 33113 | 3927 | 4304 | 4203 | 4262 | 4284
D | 38279 | 36909 | 38697 | 43373 | 40572 | 4164 | 4326 | 4339 | 4388 | 4318
E | 45616 | 44779 | 39331 | 40851 | 34278
F | 33664 | 38626 | 37500 | 40691 | 30369
G | 40923 | 40119 | 37691 | 43908 | 32732
H | 37202 | 38596 | 44267 | 46412 | 42906
End Time |  |  |  | 2025-08-29 14:19:20
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 91
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-08-29 14:19:25
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.3
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 40842 | 41456 | 39346 | 42364 | 37093 | 47583 | 45710 | 51477 | 45055 | 38457
B | 43249 | 38074 | 39970 | 38077 | 38608 | 50388 | 47789 | 47380 | 53309 | 44491
C | 41101 | 39442 | 38394 | 38896 | 33395 | 3942 | 4351 | 4246 | 4299 | 4311
D | 38487 | 37184 | 39287 | 43878 | 40993 | 4188 | 4345 | 4353 | 4429 | 4349
E | 46117 | 45338 | 39899 | 41233 | 34723
F | 33981 | 38885 | 37805 | 40964 | 30614
G | 41394 | 40533 | 38156 | 44340 | 32999
H | 37359 | 38716 | 44639 | 46690 | 43283
End Time |  |  |  | 2025-08-29 14:20:03