## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-09-01
Time: |  |  |  | 15:21
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-D10;E1-H5
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 89
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-01 15:19:38
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50857 | 45509 | 48062 | 50207 | 43935 | 49123 | 46800 | 48960 | 47978 | 41090
B | 37422 | 35807 | 37589 | 36876 | 38510 | 47233 | 44602 | 43933 | 48222 | 40579
C | 37398 | 35803 | 35880 | 35333 | 33782 | 3666 | 3702 | 3714 | 3703 | 3670
D | 39354 | 37898 | 40151 | 45200 | 40130 | 3710 | 3745 | 3740 | 3776 | 3610
E | 41266 | 41211 | 38408 | 38798 | 34916
F | 33167 | 33087 | 32390 | 35639 | 32090
G | 36498 | 36846 | 36495 | 39241 | 34295
H | 39005 | 38355 | 39412 | 38193 | 40693
End Time |  |  |  | 2025-09-01 15:20:18
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 89
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-01 15:20:25
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.3
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50110 | 45037 | 47643 | 49948 | 43505 | 48683 | 46269 | 48390 | 47247 | 40641
B | 36997 | 35415 | 37046 | 36550 | 38151 | 46763 | 44107 | 43587 | 47663 | 39978
C | 36967 | 35324 | 35376 | 34909 | 33444 | 3630 | 3669 | 3668 | 3671 | 3610
D | 38746 | 37492 | 39662 | 44590 | 39680 | 3665 | 3691 | 3705 | 3728 | 3552
E | 40693 | 40728 | 37989 | 38293 | 34534
F | 32845 | 32719 | 32043 | 35202 | 31640
G | 36195 | 36395 | 36078 | 38819 | 33920
H | 38246 | 37775 | 38810 | 37767 | 40203
End Time |  |  |  | 2025-09-01 15:21:03
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 89
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-01 15:21:08
CO2 Concentration [%] |  |  |  | 0.2
O2 Concentration [%] |  |  |  | 20.7
Temperature [°C] |  |  |  | 37.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 50412 | 45256 | 47941 | 50160 | 43857 | 48995 | 46636 | 48833 | 47733 | 40765
B | 37355 | 35618 | 37398 | 36773 | 38371 | 47284 | 44487 | 43748 | 48107 | 40337
C | 37150 | 35669 | 35739 | 35137 | 33754 | 3636 | 3712 | 3703 | 3685 | 3643
D | 39101 | 37882 | 39977 | 44788 | 40002 | 3689 | 3736 | 3726 | 3762 | 3578
E | 41001 | 41066 | 38364 | 38715 | 34896
F | 32989 | 32926 | 32305 | 35384 | 31908
G | 36382 | 36677 | 36397 | 39173 | 34158
H | 38565 | 37879 | 39072 | 37910 | 40465
End Time |  |  |  | 2025-09-01 15:21:46