## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-09-03
Time: |  |  |  | 17:41
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-D10;E1-H5
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 89
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-03 17:39:08
Temperature [°C] |  |  |  | 29.3
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3439 | 52231 | 39595 | 33455 | 32256 | 3347 | 52629 | 40769 | 33607 | 32299
B | 3684 | 49537 | 32238 | 27573 | 31896 | 3696 | 50987 | 38819 | 36863 | 33239
C | 3612 | 43695 | 30943 | 27472 | 25622 | 3709 | 3741 | 3672 | 3742 | 3703
D | 3599 | 46600 | 38636 | 34482 | 32389 | 3722 | 3742 | 3711 | 3742 | 3691
E | 3586 | 52436 | 41145 | 33875 | 34785
F | 3685 | 46677 | 34536 | 31478 | 26903
G | 3444 | 47812 | 35701 | 31733 | 28708
H | 3176 | 45695 | 37083 | 30328 | 28921
End Time |  |  |  | 2025-09-03 17:39:49
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 89
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-03 17:40:03
Temperature [°C] |  |  |  | 29.2
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3359 | 51876 | 39252 | 33195 | 32046 | 3242 | 52075 | 40364 | 33278 | 31861
B | 3546 | 48934 | 31707 | 27319 | 31497 | 3618 | 50328 | 38409 | 36468 | 32912
C | 3546 | 43248 | 30561 | 27340 | 25418 | 3681 | 3720 | 3628 | 3674 | 3645
D | 3502 | 46184 | 38280 | 34231 | 32101 | 3708 | 3696 | 3668 | 3718 | 3649
E | 3486 | 51730 | 40710 | 33611 | 34590
F | 3550 | 46214 | 34085 | 30990 | 26477
G | 3275 | 47246 | 35195 | 31415 | 28402
H | 3116 | 45014 | 36530 | 29969 | 28567
End Time |  |  |  | 2025-09-03 17:40:42
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 89
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-03 17:40:46
Temperature [°C] |  |  |  | 29.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 3322 | 52109 | 39607 | 33408 | 32186 | 3172 | 52558 | 40650 | 33421 | 32019
B | 3526 | 49434 | 31975 | 27421 | 31803 | 3590 | 50813 | 38679 | 36677 | 33083
C | 3515 | 43646 | 30784 | 27460 | 25539 | 3710 | 3744 | 3631 | 3700 | 3683
D | 3489 | 46533 | 38787 | 34550 | 32372 | 3734 | 3715 | 3702 | 3742 | 3641
E | 3448 | 52165 | 41055 | 33958 | 34841
F | 3546 | 46583 | 34510 | 31189 | 26741
G | 3258 | 47558 | 35572 | 31695 | 28632
H | 3098 | 45607 | 36971 | 30278 | 28810
End Time |  |  |  | 2025-09-03 17:41:25