## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-09-05
Time: |  |  |  | 17:01
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-D10;E1-H5
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 84
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-05 16:59:00
Temperature [°C] |  |  |  | 29
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2391 | 51436 | 26605 | 19620 | 21236 | 2488 | 33357 | 17476 | 14494 | 15629
B | 2579 | 42467 | 16900 | 16888 | 23748 | 2527 | 31979 | 13077 | 14359 | 14121
C | 2580 | 42539 | 19624 | 17407 | 17665 | 2487 | 2503 | 2505 | 2524 | 2483
D | 2554 | 45942 | 25343 | 21419 | 24103 | 2519 | 2507 | 2524 | 2550 | 2517
E | 2452 | 40569 | 21482 | 19644 | 20670
F | 2507 | 33341 | 15026 | 16207 | 16260
G | 2457 | 35376 | 17725 | 17924 | 18274
H | 2449 | 38220 | 24692 | 18383 | 19807
End Time |  |  |  | 2025-09-05 16:59:41
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 84
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-05 16:59:54
Temperature [°C] |  |  |  | 28.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2369 | 51124 | 26396 | 19514 | 21080 | 2467 | 33040 | 17345 | 14319 | 15450
B | 2566 | 42017 | 16739 | 16771 | 23501 | 2516 | 31765 | 12949 | 14180 | 14006
C | 2548 | 42082 | 19406 | 17285 | 17549 | 2467 | 2480 | 2471 | 2496 | 2458
D | 2529 | 45389 | 25128 | 21249 | 23878 | 2497 | 2472 | 2494 | 2526 | 2488
E | 2413 | 40015 | 21236 | 19464 | 20462
F | 2451 | 33034 | 14920 | 15986 | 16089
G | 2431 | 34968 | 17493 | 17722 | 18178
H | 2410 | 37895 | 24299 | 18113 | 19606
End Time |  |  |  | 2025-09-05 17:00:33
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 84
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-05 17:00:37
Temperature [°C] |  |  |  | 28.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2352 | 51313 | 26555 | 19679 | 21176 | 2472 | 33256 | 17421 | 14418 | 15576
B | 2553 | 42242 | 16801 | 16856 | 23650 | 2519 | 31949 | 12995 | 14258 | 14098
C | 2550 | 42283 | 19526 | 17353 | 17700 | 2487 | 2486 | 2494 | 2508 | 2467
D | 2538 | 45596 | 25173 | 21427 | 24056 | 2519 | 2488 | 2515 | 2538 | 2505
E | 2408 | 40214 | 21409 | 19569 | 20592
F | 2463 | 33142 | 14926 | 16100 | 16206
G | 2433 | 35200 | 17663 | 17895 | 18250
H | 2401 | 37907 | 24427 | 18210 | 19733
End Time |  |  |  | 2025-09-05 17:01:16