## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-09-08
Time: |  |  |  | 15:44
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-D10;E1-H5
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 84
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-08 15:42:04
Temperature [°C] |  |  |  | 28
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2471 | 50042 | 11177 | 9848 | 12151 | 2484 | 29817 | 3712 | 3112 | 8961
B | 2485 | 36172 | 3266 | 4517 | 13316 | 2487 | 28171 | 3452 | 3661 | 8919
C | 2512 | 38589 | 4509 | 5820 | 10427 | 2510 | 2499 | 2518 | 2505 | 2455
D | 2550 | 40907 | 9725 | 11075 | 15287 | 2523 | 2550 | 2523 | 2540 | 2513
E | 2433 | 38493 | 6917 | 7651 | 10907
F | 2395 | 29366 | 3522 | 5243 | 8722
G | 2400 | 31676 | 4934 | 6861 | 9092
H | 2390 | 37754 | 9047 | 5543 | 11659
End Time |  |  |  | 2025-09-08 15:42:44
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 84
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-08 15:42:49
Temperature [°C] |  |  |  | 27.9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2451 | 49544 | 11049 | 9745 | 12015 | 2456 | 29412 | 3651 | 3077 | 8835
B | 2452 | 35599 | 3196 | 4394 | 13172 | 2454 | 27707 | 3390 | 3612 | 8817
C | 2467 | 37893 | 4442 | 5722 | 10288 | 2470 | 2479 | 2478 | 2448 | 2418
D | 2514 | 40225 | 9545 | 10902 | 15112 | 2471 | 2511 | 2481 | 2514 | 2456
E | 2392 | 37991 | 6811 | 7568 | 10787
F | 2344 | 28886 | 3482 | 5157 | 8671
G | 2351 | 31276 | 4873 | 6747 | 9011
H | 2327 | 37180 | 8897 | 5482 | 11517
End Time |  |  |  | 2025-09-08 15:43:27
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 84
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-D10;E1-H5
Start Time |  |  |  | 2025-09-08 15:43:32
Temperature [°C] |  |  |  | 27.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 2442 | 49716 | 11101 | 9788 | 12090 | 2464 | 29585 | 3662 | 3070 | 8899
B | 2449 | 35813 | 3199 | 4414 | 13221 | 2459 | 27901 | 3406 | 3625 | 8870
C | 2489 | 38147 | 4443 | 5726 | 10347 | 2489 | 2486 | 2480 | 2483 | 2421
D | 2490 | 40593 | 9620 | 10979 | 15207 | 2493 | 2519 | 2500 | 2521 | 2486
E | 2400 | 38151 | 6851 | 7601 | 10855
F | 2368 | 29009 | 3498 | 5170 | 8676
G | 2358 | 31388 | 4903 | 6798 | 9036
H | 2353 | 37368 | 8939 | 5482 | 11599
End Time |  |  |  | 2025-09-08 15:44:10