## Result sheet
Method name: JVM_FITC-Dextran (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 12:38
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-A9;B1-C12;D1-G8;H1-H12
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 490
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 125
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A9;B1-C12;D1-G8;H1-H12
Start Time |  |  |  | 2025-11-19 12:37:13
Temperature [°C] |  |  |  | 27.3
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 44361 | 44860 | 43291 | 44390 | 43514 | 42971 | 40949 | 44319 | 45401
B | 32276 | 32409 | 32143 | 32810 | 32117 | 32092 | 32603 | 31600 | 50514 | 50271 | 49586 | 49576
C | 31294 | 30542 | 32006 | 31985 | 31890 | 31980 | 31773 | 32031 | 50542 | 49214 | 50272 | 50663
D | 32226 | 31325 | 32413 | 32194 | 31666 | 32097 | 32110 | 31297
E | 32206 | 31578 | 31916 | 31885 | 31649 | 31336 | 30465 | 30371
F | 31853 | 29302 | 31610 | 29436 | 30925 | 29051 | 31369 | 28577
G | 32648 | 31934 | 31006 | 31587 | 31468 | 31540 | 30890 | 30473
H | 31088 | 30396 | 29995 | 30827 | 31032 | 31544 | 31043 | 30287 | 29736 | 30154 | 30965 | 29477
End Time |  |  |  | 2025-11-19 12:37:59