## Result sheet
Method name: JVM_FITC-Dextran (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 12:41
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 490
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 75
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Start Time |  |  |  | 2025-11-19 12:40:17
Temperature [°C] |  |  |  | 26.9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 860 | 899 | 838 | 883 | 811 | 891 | 821 | 876 | 1209 | 1202 | 1187 | 1209
B | 899 | 875 | 897 | 894 | 904 | 887 | 878 | 839 | 1206 | 1203 | 1189 | 1204
C | 827 | 876 | 911 | 869 | 877 | 889 | 870 | 864
D | 885 | 903 | 918 | 919 | 902 | 923 | 879 | 860
E | 930 | 925 | 930 | 934 | 930 | 924 | 891 | 836
F | 928 | 913 | 919 | 912 | 896 | 938 | 865 | 864
G | 891 | 938 | 866 | 874 | 850 | 880 | 837 | 819 | 831 | 825 | 833 | 863
H | 46152 | 52991 | 39372 | 44827 | 41619 | 56529 | 38268 | 53488 | 37086
End Time |  |  |  | 2025-11-19 12:41:02