## Result sheet
Method name: JVM_FITC-Dextran (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 12:43
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 490
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 71
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Start Time |  |  |  | 2025-11-19 12:43:02
Temperature [°C] |  |  |  | 27
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 651 | 678 | 643 | 663 | 630 | 680 | 670 | 680 | 816 | 819 | 810 | 820
B | 690 | 706 | 712 | 718 | 699 | 722 | 707 | 709 | 819 | 830 | 816 | 811
C | 678 | 658 | 661 | 699 | 657 | 676 | 666 | 730
D | 768 | 723 | 749 | 765 | 692 | 751 | 697 | 641
E | 794 | 720 | 757 | 774 | 728 | 716 | 695 | 666
F | 780 | 738 | 752 | 740 | 706 | 704 | 718 | 726
G | 462 | 687 | 487 | 711 | 454 | 674 | 436 | 610 | 665 | 700 | 660 | 744
H | 43138 | 52792 | 31078 | 39998 | 38970 | 41097 | 37448 | 45146 | 42380
End Time |  |  |  | 2025-11-19 12:43:47