## Result sheet
Method name: JVM_FITC-Dextran (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 12:45
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 490
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 71
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Start Time |  |  |  | 2025-11-19 12:44:23
Temperature [°C] |  |  |  | 26.9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 691 | 715 | 670 | 720 | 674 | 742 | 686 | 746 | 808 | 788 | 805 | 808
B | 546 | 705 | 748 | 714 | 722 | 738 | 744 | 730 | 788 | 812 | 805 | 813
C | 720 | 695 | 705 | 669 | 696 | 717 | 694 | 745
D | 807 | 731 | 749 | 753 | 755 | 769 | 714 | 713
E | 758 | 736 | 749 | 747 | 739 | 730 | 654 | 671
F | 755 | 727 | 750 | 726 | 747 | 771 | 704 | 690
G | 736 | 730 | 715 | 700 | 731 | 658 | 724 | 513 | 659 | 711 | 695 | 763
H | 33568 | 49652 | 36127 | 38131 | 36817 | 40408 | 38216 | 40790 | 41838
End Time |  |  |  | 2025-11-19 12:45:07