## Result sheet
Method name: JVM_FITC-Dextran (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 12:50
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 490
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 69
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Start Time |  |  |  | 2025-11-19 12:49:19
Temperature [°C] |  |  |  | 27.1
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 802 | 699 | 724 | 723 | 701 | 797 | 729 | 768 | 657 | 655 | 648 | 662
B | 908 | 803 | 827 | 759 | 796 | 770 | 785 | 705 | 655 | 662 | 653 | 660
C | 698 | 707 | 701 | 674 | 650 | 675 | 732 | 784
D | 804 | 781 | 776 | 790 | 740 | 769 | 704 | 735
E | 841 | 788 | 727 | 778 | 740 | 775 | 769 | 733
F | 850 | 755 | 731 | 691 | 766 | 709 | 744 | 728
G | 646 | 675 | 599 | 641 | 655 | 680 | 644 | 603 | 1715 | 720 | 642 | 729
H | 40482 | 49162 | 32298 | 35792 | 36595 | 44298 | 36984 | 38794 | 38897
End Time |  |  |  | 2025-11-19 12:50:02