## Result sheet
Method name: JVM_FITC-Dextran (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 15:25
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-A9;B1-C12;D1-G8;H1-H12
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 490
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 72
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A9;B1-C12;D1-G8;H1-H12
Start Time |  |  |  | 2025-11-19 15:24:12
Temperature [°C] |  |  |  | 27.9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 27461 | 23053 | 18694 | 19807 | 21592 | 23116 | 19784 | 19752 | 20060
B | 2086 | 7199 | 8539 | 5716 | 1468 | 3860 | 6161 | 3386 | 23 | 23 | 23 | 22
C | 2221 | 5567 | 5333 | 5752 | 9807 | 898 | 2760 | 1195 | 23 | 22 | 23 | 23
D | 10423 | 52299 | 11648 | 1048 | 6965 | 41442 | 15107 | 45282
E | 1446 | 1375 | 4364 | 1250 | 1092 | 2501 | 876 | 986
F | 705 | 2091 | 712 | 1505 | 1388 | 1464 | 1035 | 992
G | 2775 | 6104 | 946 | 11428 | 926 | 1132 | 1012 | 560
H | 1186 | 852 | 1114 | 4520 | 1727 | 1860 | 455 | 1487 | 769 | 784 | 640 | 1300
End Time |  |  |  | 2025-11-19 15:24:57