## Result sheet
Method name: JVM_FITC-Dextran (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 15:26
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 490
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 68
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-B12;C1-F8;G1-G12;H1-H9
Start Time |  |  |  | 2025-11-19 15:25:47
Temperature [°C] |  |  |  | 27.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1699 | 4584 | 5359 | 4003 | 1343 | 3074 | 4612 | 2734 | 15 | 14 | 15 | 15
B | 1846 | 3566 | 3973 | 4095 | 6390 | 1259 | 2345 | 1381 | 12 | 15 | 15 | 15
C | 6381 | 31014 | 7154 | 1023 | 4635 | 25084 | 9099 | 26673
D | 2212 | 1668 | 3132 | 1341 | 1476 | 2143 | 1579 | 1249
E | 1011 | 1656 | 1005 | 1488 | 1611 | 1437 | 1178 | 879
F | 2207 | 4042 | 1054 | 6527 | 1386 | 1296 | 1038 | 522
G | 1507 | 1257 | 1229 | 3351 | 1647 | 1451 | 711 | 1288 | 992 | 909 | 931 | 2148
H | 51304 | 48589 | 34560 | 27136 | 39368 | 31822 | 35299 | 16944 | 26276
End Time |  |  |  | 2025-11-19 15:26:32