## Result sheet
Method name: JVM_FITC-Dextran (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 15:59
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | Label 1
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-B12;C1-C9;D1-D8;E1-E10;F1-F8;G1-G10;H1-H8
Mode | Fluorescence Top Reading
Name | Label 1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 490
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 520
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 62
Mirror |  |  |  | Automatic (Dichroic 510)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-B12;C1-C9;D1-D8;E1-E10;F1-F8;G1-G10;H1-H8
Start Time |  |  |  | 2025-11-19 15:59:00
Temperature [°C] |  |  |  | 28
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 1258 | 4132 | 2905 | 2354 | 1220 | 2595 | 2672 | 2086 | 4 | 4 | 4 | 5
B | 3014 | 2270 | 3391 | 2547 | 3526 | 1138 | 3065 | 1575 | 4 | 5 | 4 | 4
C | 3665 | 14450 | 6214 | 1155 | 3169 | 10975 | 4720 | 11709 | 35048
D | 2019 | 1446 | 2528 | 1239 | 1138 | 1762 | 1512 | 1217
E | 1655 | 1719 | 973 | 1647 | 1650 | 1718 | 1055 | 1225 | 991 | 2038
F | 49311 | 37028 | 1476 | 1485 | 1468 | 2067 | 36404 | 33614
G | 36656 | 37083 | 1342 | 1561 | 1227 | 866 | 34164 | 27290 | 1030 | 1654
H | 1876 | 2304 | 1124 | 3952 | 1465 | 1026 | 1552 | 980
End Time |  |  |  | 2025-11-19 15:59:47