## Result sheet
Method name: JVM_PrestoBlue (Modified)
Application: SparkControl |  |  |  | V3.2
Device: Spark |  |  |  | Serial number: 1910009375
Firmware: |  |  |  | LUM:V5.2.4¦ABS:V4.3.2¦ABS_MEX:V5.1.1¦USBCAM:V4.90.34¦MTP:V14.2.11¦FLUOR:V5.1.4¦FLUOR_FP:V5.0.2¦FLUOR_BOTTOM:V5.0.2¦FLUOR_MEM:V5.1.1¦FLUOR_MEX:V5.1.1¦FIM:V1.1.9¦GCM:V3.0.2¦PODI:V1.11.2
Date: |  |  |  | 2025-11-19
Time: |  |  |  | 16:43
System |  |  |  | SPARK1923
User |  |  |  | SPARK1923\SparkUser
Plate |  |  |  | [PE96fw_OptiPlate] - PerkinElmer 96 Flat White Cat. No.: 6005290
Lid lifter |  |  |  | No lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r1
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r2
| Fluorescence Top Reading |  |  |  |  | PrestoBlue_plate1_BP-r3
Name |  |  |  | PE96fw_OptiPlate
Plate layout
Plate area |  |  |  | A1-A12;B1-F8;B10;C10-C12;D10;E10-E12;F10;G1-H5;
G7-H7;G10-G12;H10
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r1
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 86
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-F8;B10;C10-C12;D10;E10-E12;F10;G1-H5;G7-H7;G10-G12;H10
Start Time |  |  |  | 2025-11-19 16:41:12
Temperature [°C] |  |  |  | 28
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 45831 | 40682 | 45444 | 36042 | 42521 | 34950 | 45743 | 43452 | 2828 | 2831 | 2888 | 2868
B | 40078 | 39857 | 32922 | 37665 | 31826 | 38759 | 40823 | 43864 |  | 2798
C | 38428 | 38834 | 34512 | 38158 | 34074 | 38283 | 42943 | 42727 |  | 2817 | 2953 | 2854
D | 46963 | 44249 | 47509 | 41429 | 43610 | 41255 | 45589 | 42491 |  | 2780
E | 36917 | 40230 | 34937 | 38077 | 35280 | 41606 | 39695 | 36032 |  | 2780 | 2968 | 2879
F | 35052 | 35704 | 38432 | 38068 | 38951 | 41275 | 41438 | 38632 |  | 2762
G | 49559 | 40953 | 44507 | 49586 | 40700 |  | 44556 |  |  | 2705 | 2799 | 2777
H | 47192 | 39470 | 44596 | 45501 | 41790 |  | 40904 |  |  | 2646
End Time |  |  |  | 2025-11-19 16:41:59
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r2
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 87
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-F8;B10;C10-C12;D10;E10-E12;F10;G1-H5;G7-H7;G10-G12;H10
Start Time |  |  |  | 2025-11-19 16:42:06
Temperature [°C] |  |  |  | 27.9
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 49148 | 43779 | 48836 | 38772 | 45734 | 37565 | 49073 | 46586 | 3037 | 3065 | 3098 | 3043
B | 42720 | 42818 | 35315 | 40369 | 34294 | 41581 | 43924 | 47142 |  | 3006
C | 41071 | 41830 | 37029 | 40954 | 36639 | 41095 | 45841 | 45742 |  | 3025 | 3166 | 3053
D | 50132 | 47507 | 50989 | 44510 | 46761 | 44183 | 49137 | 45549 |  | 2998
E | 39243 | 43176 | 37554 | 40969 | 37948 | 44822 | 42741 | 38596 |  | 2998 | 3182 | 3091
F | 37431 | 38429 | 41301 | 40914 | 41832 | 44257 | 44575 | 41537 |  | 2962
G | 53139 | 44111 | 47666 | 53118 | 43736 |  | 47735 |  |  | 2910 | 3018 | 2996
H | 50729 | 42489 | 47798 | 49091 | 44832 |  | 43968 |  |  | 2935
End Time |  |  |  | 2025-11-19 16:42:54
Mode | Fluorescence Top Reading
Name | PrestoBlue_plate1_BP-r3
Excitation |  |  |  | Monochromator
Excitation wavelength [nm] |  |  |  | 560
Excitation bandwidth [nm] |  |  |  | 10
Emission |  |  |  | Monochromator
Emission wavelength [nm] |  |  |  | 590
Emission bandwidth [nm] |  |  |  | 10
Gain Optimal |  |  |  | 86
Mirror |  |  |  | Automatic (50% Mirror)
Number of flashes |  |  |  | 30
Integration time [µs] |  |  |  | 40
Lag time [µs] |  |  |  | 0
Settle time [ms] |  |  |  | 0
Z-Position [μm] |  |  |  | 20000
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A1-A12;B1-F8;B10;C10-C12;D10;E10-E12;F10;G1-H5;G7-H7;G10-G12;H10
Start Time |  |  |  | 2025-11-19 16:42:58
Temperature [°C] |  |  |  | 27.8
<> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | 45500 | 40546 | 45343 | 36055 | 42382 | 34917 | 45612 | 43350 | 2819 | 2826 | 2868 | 2837
B | 39579 | 39676 | 32750 | 37456 | 31859 | 38645 | 40734 | 43775 |  | 2791
C | 37918 | 38776 | 34380 | 38062 | 34056 | 38164 | 42811 | 42442 |  | 2810 | 2914 | 2840
D | 46639 | 44168 | 47299 | 41231 | 43539 | 41139 | 45430 | 42291 |  | 2768
E | 36360 | 40221 | 34977 | 37888 | 35268 | 41482 | 39578 | 35766 |  | 2803 | 2954 | 2865
F | 34812 | 35814 | 38509 | 38034 | 38777 | 41375 | 41324 | 38555 |  | 2751
G | 49234 | 40814 | 44343 | 49307 | 40522 |  | 44481 |  |  | 2686 | 2788 | 2770
H | 46930 | 39568 | 44255 | 45653 | 41522 |  | 40739 |  |  | 2743
End Time |  |  |  | 2025-11-19 16:43:46